## Sheet 1 - power_plant_costs_wit
Plant Type | Connection and Use 2016 | Connection and Use 2017 | Connection and Use 2020 | Construction Cost-H 2016 | Construction Cost-H 2017 | Construction Cost-H 2020 | Construction Cost-L 2016 | Construction Cost-L 2017 | Construction Cost-L 2020 | Construction Cost-M 2016 | Construction Cost-M 2017 | Construction Cost-M 2020 | Fixed O+M 2016 | Fixed O+M 2017 | Fixed O+M 2020 | Insurance 2016 | Insurance 2017 | Insurance 2020 | Pre-Development High 2016 | Pre-Development High 2017 | Pre-Development High 2020 | Pre-Development Low 2016 | Pre-Development Low 2017 | Pre-Development Low 2020 | Pre-Development Med 2016 | Pre-Development Med 2017 | Pre-Development Med 2020 | Variable O+M 2016 | Variable O+M 2017 | Variable O+M 2020 | Connection and Use 2025 | Construction Cost-H 2025 | Construction Cost-M 2025 | Construction Cost-L 2025 | Fixed O+M 2025 | Insurance 2025 | Pre-Development High 2025 | Pre-Development Medium 2025 | Pre-Development Low 2025 | Variable O+M 2025
Gas - CCGT | 6840 | 6840 | 6840 | 700 | 700 | 700 | 500 | 500 | 500 | 600 | 600 | 600 | 22000 | 22000 | 22000 | 1990 | 1990 | 1990 | 20 | 20 | 20 | 5 | 5 | 5 | 10 | 10 | 10 | 0.1 | 0.1 | 0.1
OCGT | 3440 | 3440 | 3440 | 300 | 300 | 300 | 200 | 200 | 200 | 300 | 300 | 300 | 9900 | 9900 | 9900 | 960 | 960 | 960 | 30 | 30 | 30 | 20 | 20 | 20 | 20 | 20 | 20 | 0.1 | 0.1 | 0.1
Gas - CCGT with post combustion CCS (FOAK) | [30 empty] | 6800 | 1500 | 1300 | 1100 | 25000 | 4600 | 45 | 30 | 25 | 2
Coal - IGCC with CCS (FOAK) | [30 empty] | 8800 | 3800 | 3300 | 2700 | 134800 | 5100 | 60 | 50 | 45 | 2
Coal - ASC with oxy combustion CCS - FOAK | [30 empty] | 8800 | 2500 | 2200 | 2000 | 56900 | 3400 | 45 | 25 | 20 | 2
Nuclear - FOAK |  |  | 7400 |  |  | 3700 |  |  | 3700 |  |  | 4100 |  |  | 72000 |  |  | 10000 |  |  | 470 |  |  | 110 |  |  | 210 |  |  | 3
CCGT CHP | 6700 | 6700 | 6700 | 700 | 700 | 700 | 500 | 500 | 500 | 600 | 600 | 600 | 46300 | 46300 | 46300 | 2000 | 2000 | 2000 | 75 | 75 | 75 | 30 | 30 | 30 | 50 | 50 | 50 | 0.1 | 0.1 | 0.1
Co-firing Standard CHP | Included in fixed O+M | [8 empty] | 4300 | 4300 | 4300 | 260000 | 260000 | 260000 | Included in fixed O+M | [8 empty] | Included in Construction costs |  |  | 2 | 2 | 2
ACT Advanced | Included in fixed O+M |  |  | 6900 | 6800 | 6600 | 5100 | 5000 | 4900 | 6800 | 6700 | 6500 | 414800 | 410900 | 399500 | 21900 | 21700 | 21050 | 1000 | 1000 | 1000 | 170 | 170 | 170 | 410 | 410 | 410 | 13 | 13 | 13
ACT standard | 5570 | 5520 | 5360 | 10100 | 10000 | 9800 | 900 | 900 | 900 | 5600 | 5500 | 5400 | 426000 | 422000 | 410000 | 21890 | 21680 | 21070 | 1005 | 1005 | 1005 | 165 | 165 | 165 | 360 | 360 | 360 | 25 | 25 | 25
Dedicated biomass >50MW | 1380 | 1370 | 1350 | 4600 | 4600 | 4500 | 2000 | 2100 | 2000 | 2500 | 2500 | 2400 | 96500 | 95900 | 94400 | 14320 | 14240 | 14020 | 40 | 40 | 40 | 15 | 15 | 15 | 30 | 30 | 30 | 5 | 5 | 5
Dedicated biomass 5-50MW | 16600 | 16500 | 16200 | 5100 | 5000 | 4900 | 2500 | 2500 | 2500 | 3600 | 3500 | 3500 | 112000 | 111000 | 109000 | 16600 | 16500 | 16200 | 110 | 110 | 110 | 40 | 40 | 40 | 95 | 95 | 95 | 5
Onshore >5 MW | 4510 | 4510 | 16200 | 1800 | 1800 | 1700 | 1100 | 1100 | 1100 | 1500 | 1500 | 1400 | 37100 | 37100 | 37200 | 3000 | 3010 | 3010 | 240 | 240 | 240 | 30 | 30 | 30 | 100 | 100 | 100 | 5 | 5 | 5
Offshore Round 2 | 45900 | 44200 | 39900 | 2900 | 2700 | 2400 | 2100 | 2000 | 1700 | 2500 | 2300 | 2000 | 62900 | 60500 | 54600 | 11600 | 11100 | 10000 | 120 | 120 | 120 | 50 | 50 | 50 | 70 | 70 | 70 | 2 | 2 | 2
Offshore Round 3 | 60600 | 57200 | 49400 | 3100 | 3000 | 2600 | 2200 | 2100 | 1800 | 2600 | 2400 | 2100 | 70900 | 67000 | 57800 | 32800 | 31000 | 26700 | 150 | 150 | 150 | 50 | 50 | 50 | 105 | 105 | 105 | Included in fixed O+M
Bioliquids | 12000 | 12000 | 11900 | 1900 | 1900 | 1900 | 500 | 500 | 500 | 800 | 800 | 800 | 121000 | 120700 | 120200 | 4900 | 4900 | 4800 | 1040 | 1040 | 1040 | 30 | 30 | 30 | 180 | 180 | 180 | 6 | 7 | 8
Bioliquids CHP | 12000 | 12000 | 11900 | 2000 | Tidal stream deep | 2000 | 500 | 500 | 500 | 800 | 800 | 800 | 121000 | 120700 | 120200 | 4900 | 4900 | 4800 | 1000 | 1000 | 1000 | 30 | 30 | 30 | 180 | 180 | 180 | 6 | 7 | 8
Cofiring Conventional | 9200 | 9200 | 9200 | 170 | 170 | 160 | 40 | 40 | 40 | 120 | 120 | 120 | 10100 | 10100 | 10200 | 900 | 900 | 900 | 7 | 7 | 7 | 2 | 2 | 2 | 5 | 5 | 5 | 1 | 2 | 3
Cofiring Enhanced | 17500 | 17500 | 17500 | 700 | 700 | 700 | 300 | 300 | 300 | 400 | 400 | 400 | 40900 | 41000 | 41000 | 1300 | 1300 | 1300 | 60 | 60 | 60 | 60 | 60 | 60 | 60 | 60 | 60 | 1 | 2 | 3
Biomass conversion | 17500 | 17500 | 17500 | 700 | 700 | 700 | 300 | 300 | 300 | 400 | 400 | 400 | 40900 | 41000 | 41000 | 1300 | 1300 | 1300 | 60 | 60 | 60 | 60 | 60 | 60 | 60 | 60 | 60 | 1 | 2 | 3
Wave | [30 empty] | Included in fixed O+M | 4700 | 4500 | 3800 | 97800 | Included in fixed O+M | 130 | 110 | 100 | Included in fixed O+M
Tidal Stream Shallow | [30 empty] | Included in fixed O+M | 3100 | 2700 | 2000 | 143300 | Included in fixed O+M | Included in construction costs |  |  | 1
Tidal Stream Deep | [30 empty] | Included in fixed O+M | 3600 | 3200 | 2700 | 114000 | Included in fixed O+M | Included in construction costs |  |  | 1
Tidal Range | [30 empty] | Included in fixed O+M | 3800 | 3000 | 2200 | 38000 | Included in fixed O+M | Included in construction costs |  |  | Included in fixed O+M
Hydropower 5-16MW | Included in fixed O+M | [8 empty] | 3100 | 3100 | 3300 | 43500 | 43600 | 43700
Hydro Large Storage | 7300 | 7300 | 7300 | [6 empty] | 3400 | 3400 | 3400 | 24800 | 24800 | 24900 | 900 | 900 | 900 | [6 empty] | 55 | 55 | 55 | 6 | 7 | 8
Sewage Gas | 8700 | 8700 | 8700 | 5900 | 5900 | 5800 | 2300 | 2300 | 2200 | 3600 | 3600 | 3500 | 101000 | 101000 | 101000 | Included in fixed O+M | [8 empty] | Included in construction costs |  |  | Included in fixed O+M
Landfill | 5100 | 5100 | 5100 | 3400 | 3400 | 3300 | 1000 | 1000 | 1000 | 2000 | 2000 | 2000 | 59600 | 59600 | 59700 | 1300 | 1300 | 1300 | 210 | 210 | 210 | 30 | 30 | 30 | 130 | 130 | 130 | 10 | 11 | 12
Energy from Waste | Included in fixed O+M |  |  | 5200 | 5200 | 5100 | 4500 | 4500 | 4500 | 4900 | 4900 | 4800 | 222000 | 222000 | 222000 | Included in fixed O+M | [8 empty] | Included in construction costs |  |  | 25 | 25 | 25
Energy from Waste CHP | Included in fixed O+M |  |  | 6900 | 6900 | 6800 | 5500 | 5500 | 5400 | 6200 | 6200 | 6100 | 269000 | 269200 | 269600 | Included in fixed O+M | [8 empty] | Included in construction costs |  |  | 30 | 30 | 30
Geothermal | 2000 | 2000 | 2000 | 6700 | 6300 | 5900 | 2300 | 2200 | 2000 | 4600 | 4400 | 4100 | 35800 | 35800 | 35800 | 71500 | 71500 | 71700 | 300 | 300 | 300 | 50 | 50 | 50 | 140 | 140 | 140 | 10 | 10 | 10
Geothermal CHP | 1900 | 1900 | 1900 | 7300 | 6800 | 6400 | 2600 | 2500 | 2300 | 5100 | 4800 | 4500 | 34200 | 34200 | 34200 | 77100 | 77100 | 77200 | 240 | 240 | 240 | 50 | 50 | 50 | 140 | 140 | 140 | 10 | 11 | 12
Biomass CHP | 1400 | 1400 | 1400 | 5000 | 5000 | 4900 | 2700 | 2700 | 2700 | 3900 | 3800 | 3800 | 149900 | 149100 | 146700 | 25400 | 25300 | 24900 | [6 empty] | Included in construction costs £ |  |  | 10 | 11 | 12
AD | 8700 | 8700 | 8700 | 7200 | 7200 | 7000 | 1700 | 1700 | 1700 | 4000 | 3900 | 3900 | 301000 | 301000 | 301000 | 58000 | 58100 | 58200 | 580 | 580 | 580 | 50 | 50 | 50 | 180 | 180 | 180 | 30 | 30 | 30
AD CHP | 8700 | 8700 | 8700 | 7200 | 7200 | 7200 | 1800 | 1800 | 1800 | 4200 | 4200 | 4100 | 364000 | 364000 | 365000 | 58000 | 58100 | 58200 | [6 empty] | Included in construction costs |  |  | 20 | 20 | 20
ACT CHP | 5600 | 5600 | 5400 | 10600 | 10500 | 10300 | 1000 | 1000 | 900 | 5900 | 5800 | 5700 | 425800 | 421800 | 410000 | 21900 | 21700 | 21100 | 90 | 90 | 90 | 90 | 90 | 90 | 90 | 90 | 90 | 10 | 11 | 12
Large scale solar PV | Included in fixed O+M |  |  | 1100 | 1100 | 900 | 900 | 900 | 800 | 1000 | 1000 | 900 | 22600 | 22400 | 21900 | Included in fixed O+M | [8 empty] | Included in construction costs |  |  | Included in fixed O+M
Solar <4kW | Included in fixed O+M |  |  | 2500 | 2400 | 2100 | 1500 | 1400 | 1300 | 1900 | 1800 | 1600 | 23700 | 23600 | 23500 | Included in fixed O+M | [8 empty] | Included in construction costs |  |  | Included in fixed O+M
Onshore 1MW<5MW | Included in fixed O+M |  |  | 2300 | 2300 | 2300 | 1600 | 1600 | 1600 | 2000 | 2000 | 2000 | 29600 | 29400 | 29000 | Included in fixed O+M | [8 empty] | Included in construction costs |  |  | Included in fixed O+M
Onshore <15kW | Included in fixed O+M |  |  | 6100 | 6100 | 6100 | 5000 | 5000 | 5000 | 5500 | 5500 | 5500 | 73000 | 73000 | 73000 | Included in fixed O+M | [8 empty] | Included in construction costs |  |  | Included in fixed O+M
AD < 250kW | Included in fixed O+M |  |  | 8000 | 8000 | 8000 | 4000 | 4000 | 4000 | 6000 | 6000 | 6000 | 924000 | 924000 | 924000 | Included in fixed O+M | [8 empty] | Included in construction costs |  |  | Included in fixed O+M
AD > 500kW | Included in fixed O+M |  |  | 6000 | 6000 | 6000 | 3000 | 3000 | 3000 | 4500 | 4500 | 4500 | 714800 | 714800 | 714800 | Included in fixed O+M | [8 empty] | Included in construction costs |  |  | Included in fixed O+M
Hydropower 100kW-1000kW | Included in fixed O+M |  |  | 10000 | 10000 | 10000 | 2000 | 2000 | 2000 | 4500 | 4500 | 4500 | 104000 | 104000 | 104000 | Included in fixed O+M | [8 empty] | Included in construction costs |  |  | Included in fixed O+M
Hydropower <15kW | Included in fixed O+M |  |  | 21400 | 21400 | 21400 | 4200 | 4200 | 4200 | 9500 | 9500 | 9500 | 110000 | 110000 | 110000 | Included in fixed O+M | [8 empty] | Included in construction costs |  |  | Included in fixed O+M